Annexure-V

DEPARTMENT OF HYDRO AND RENEWABLE ENERGY

INDIAN INSTITUTE OF TECHNOLOGY ROORKEE

Program Code:	12	M.TECH. (ALTERNATE HYDRO ENERGY SYSTEMS)

Department:		AH	DEPARTMENT OF HYDRO AND RENEWABLE ENERGY

Year:			I

| Teaching Scheme | Contact Hours/Week | Exam Duration | Relative Weight (%) |
| --- | --- | --- | --- |
| S. No. | Subject Code | Course Title | Subject Area | Credits | L | T | P | Theory | Practical | CWS | PRS | MTE | ETE | PRE |
| Semester- I (Autumn) |
| 1. | AHN-511 | Small Hydro Power Planning and Management | PCC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
| 2. | AHN-513 | Renewable Energy Resources Development Technology | PCC | 4 | 3 | 1 | 2/2 | 3 | - | 20 | 20 | 20 | 40 | - |
| 3. | AHN-514 | Hydro Electric Equipment | PCC | 4 | 3 | 1 | 2/2 | 3 | - | 20 | 20 | 20 | 40 | - |
| 4. | - | Programme Elective Course-I* | PEC | 4 | - | - | - | - | - | - | - | - | - | - |
| 5. | - | Programme Elective Course-II* | PEC | 4 | - | - | - | - | - | - | - | - | - | - |
|  |  | Total |  | 20 | 9 | 3 | 2 |  |  |  |  |  |  |  |
| Semester-II (Spring) |
| 1. | AHN-512 | Design of SHP Structures | PCC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
| 2. | AHN-516 | Hydro Mechanical Equipment | PCC | 4 | 3 | 1 | 2/2 | 3 | - | 20 | 20 | 20 | 40 | - |
| 3. | AHN-700 | Seminar | SEM | 2 | - | - | - | - | - | - | - | - | 100 | - |
| 4. | - | Programme Elective Course-III* | PEC | 4 | - | - | - | - | - | - | - | - | - | - |
| 5. | - | Programme Elective Course-IV* | PEC | 4 | - | - | - | - | - | - | - | - | - | - |
|  |  | Total |  | 18 | 6 | 2 | 1 |  |  |  |  |  |  |  |

DEPARTMENT OF HYDRO AND RENEWABLE ENERGY

INDIAN INSTITUTE OF TECHNOLOGY ROORKEE

Program Code:	12	M.TECH. COURSE IN “ALTERNATE HYDRO ENERGY SYSTEMS”

Department:		AH	DEPARTMENT OF HYDRO AND RENEWABLE ENERGY

Year:			II

| Teaching Scheme | Contact Hours/Week | Exam Duration | Relative Weight (%) |
| --- | --- | --- | --- |
| S. No. | Subject Code | Course Title | Subject Area | Credits | L | T | P | Theory | Practical | CWS | PRS | MTE | ETE | PRE |
| Semester- I (Autumn) |
| 1. | AHN-701A | Dissertation Stage–I (to be continued in next semester) | DIS | 12 | - | - | - | - | - | - | - | - | 100 | - |
|  |  | Total |  | 12 |  |  |  |  |  |  |  |  |  |  |
| Note: Students can take 1 or 2 audit courses as advised by the supervisor, if required. |
| Semester-II (Spring) |
| 1. | AHN-701B | Dissertation Stage–II (contd. From III semester) | DIS | 18 | - | - | - | - | - | - | - | - | 100 | - |
|  |  | Total |  | 18 |  |  |  |  |  |  |  |  |  |  |

| Summary |
| --- |
| Semester | 1 | 2 | 3 | 4 |
| Semester-wise Total Credits | 20 | 18 | 12 | 18 |
| Total Credits | 68 |

Program Elective Courses (AHES)

| Teaching Scheme | Contact Hours/Week | Exam Duration | Relative Weight (%) |
| --- | --- | --- | --- |
| S. No. | Subject Code | Course Title | Subject Area | Credits | L | T | P | Theory | Practical | CWS | PRS | MTE | ETE | PRE |
| 1. | AHN-517 A | Modeling, Simulation & Computer Applications | PEC | 4 | 3 | 1 | 2/2 | 3 | - | 20 | 20 | 20 | 40 | - |
| 2. | AHN-518 | Environmental Planning and Management | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
| 3. | AHN-522 | Wind Energy Application Technology | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
| 4. | AHN-526 | Instrumentation for Small Hydro Power Station | PEC | 4 | 3 | 1 | 2/2 | 3 | - | 20 | 20 | 20 | 40 | - |
| 5. | AHN-528 | Rural Electrical Energy System Planning and Design | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
| 6. | AHN-530 | Remote Sensing and GIS for SHP Planning | PEC | 4 | 3 | - | 2 | 3 | - | 20 | 20 | 20 | 40 | - |
| 7. | AHN-534 | Construction Planning and Management | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
| 8. | AHN-536 | Biomass Production and Utilisation | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
| 9. | AHN-538 | Operation and Maintenance of Small Hydro Plants | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
| 10. | AHN-540 | Solar Photo-Voltaic Design and Application | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
| 11. | AHN-542 | Energy Conservation and Management | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |
| 12. | AHN-548 | Simulation of Small Hydropower Plants | PEC | 4 | 3 | 1 | 2/2 | 3 | - | 20 | 20 | 20 | 40 | - |
| 13. | AHN-580 | Climate Change and water bodies | PEC | 4 | 3 | 1 | - | 3 | - | 25 | - | 25 | 50 | - |

AHN-511: SMALL HYDROPOWER PLANNING AND MANAGEMENT

Credit: 4

Contact Hours: Lecture: 3, Tutorial: 1, Practical: 0

Forms, development and purposes of water resources, types of hydro projects, SHP development and its relevance, Electricity acts, constitutional provisions, development process, allotment of sites, opportunities, Small hydropower planning on existing structures and new sites, Different methods for stream gauging, rainfall, runoff and its estimation by different methods, peak flood estimation, demonstration of discharge measuring instruments, Flow duration studies, assessment of power potential and determination of installed capacity, Topographical, geological and power evacuation surveys and investigations, demonstration of surveying instruments,  site selection for SHP projects, Different types of project reports and their relevance, Different methods  of project implementation, Financing of projects, cost estimation for different components, financial and economic analysis, clean development mechanism, management of SHP plants.

AHN-513: RENEWABLE ENERGY RESOURCES DEVELOPMENT TECHNOLOGY

Credit: 4

Contact Hours: Lecture: 3, Tutorial: 1, Practical: 2/2

Introduction to energy sources, reserves and estimates, global energy scenario, renewable energy vis-à-vis environment implications, global warming and climate change, Solar energy and its application, availability of solar radiation energy, collection and solar thermal storage, photovoltaic and thermal power generation, Wind energy and its application, types of wind mills and their characteristics, elementary design principles, Biomass and its sources, energy plantation, production of fuel wood, Bio-conversion processes, bio-gas, bio-diesel and ethanol production and utilization, Thermo-chemical processes, biomass gasification, process, types of reactors, utilization of producer gas for thermal and electricity generation, New energy technology, ocean and geothermal energy, hydrogen energy, alternate fuels for surface transportation.

AHN-514: HYDRO ELECTRIC EQUIPMENT

Credit: 4

Contact Hours: Lecture: 3, Tutorial: 1, Practical: 2/2

Types, characteristics and testing of ac generators, Sizing and specification of single and three phase generators, Power factor and its correction methodologies, excitation systems, Electro-mechanical and digital governor, electronic load controller, Types of relays, contactors and control schemes for SHP stations, Supervisory control and data acquisition (SCADA), integrated computer control system for SHP station, Switchyard equipments, power and instrument transformers, circuit breakers, bus-bar, Protection schemes for generator, transformer and bus-bar, design of circuit diagram for auxiliary and grounding systems.

AHN-512: DESIGN OF SHP STRUCTURES

Credit: 4

Contact Hours: Lecture: 3, Tutorial: 1, Practical: 0

Hydraulics and structural designs of civil works, national and international standards and codes of practice, diversion works and intake structures, site selection, innovative designs, Power house layouts , channel (lined and unlined), under drainage works, tunnels and tail race channel, Sediment properties and transport, desilting devices, silt disposal, Cross drainage works, Balancing reservoir, spillway and forebay tank, Penstock, anchor block and saddle, surge tank, Power house buildings, material handling, machine foundation.

AHN-516: HYDRO MECHANICAL EQUIPMENT

Credit: 4

Contact Hours: Lecture: 3, Tutorial: 1, Practical: 2/2

Classification and working principles of  hydro turbines, different components of impulse and reaction turbines, Design concepts of hydro turbines, pump-as-turbine and other non conventional hydro turbines, Characteristics of hydro turbines, geometric similarity, main  characteristic and operating characteristic curves, hill curves, Governing of hydro turbines, mechanical and electro-mechanical governors, electronic load controller, mechanical drives, gear box, pulleys, Selection of hydro turbines based on specific speed and their optimal selection, Classification, components  and selection of gates and valves, Model testing of hydro turbines, performance testing of turbines at site, Causes and impact of cavitation, silt erosion and their combined effect on operation of hydro turbines, Erection, commissioning, operation and maintenance of turbines.

AHN-517 A: MODELLING, SIMULATION AND COMPUTER APPLICATIONS

Credit: 4

Contact Hours: Lecture: 3, Tutorial: 1, Practical: 2/2

Review of C++, Principles of modeling, physical, mathematical,  static and dynamic models, Model development, parameter estimation, validation of model, Nature of simulation, techniques of simulation, discrete and continuous system simulation, parallel and distributed simulation, simulation of queuing and inventory system, Methods of random number generation, Monto-Carlo simulation, spread sheet simulation, numerical computation techniques for continuous and discrete models, Modeling of intake, channel, desilting tank, forebay tank, penstock, Modeling of electro mechanical equipment, Introduction of simulation language and package

AHN-518: ENVIRONMENTAL PLANNING AND MANAGEMENT

Credit: 4

Contact Hours: Lecture: 3, Tutorial: 1, Practical: 0

Basic ecological principles, concept and components of ecosystem, energy flow, nutrient cycling, cybernetics, ecological regulation, ecological diversity; Interaction of various components of environment, ecological disorders; Environmental impact assessment (EIA) of water resources projects with emphasis on renewable energy projects e.g. SHP, biomass, solar energy; Conservation of resources, environmental policies, laws and acts; Significance of EIA of renewable energy projects, case studies of large and small hydro projects; Environmental compatible growth.

AHN-522: WIND ENERGY APPLICATION TECHNOLOGY

Credit: 4

Contact Hours: Lecture: 3, Tutorial: 1, Practical: 0

Wind energy scenario in India, properties of wind, wind velocity and wind rose diagram, estimation of power in wind; Types of wind turbines, characteristics, construction of wind mills; Aerodynamic considerations of wind mill design, wind stream profile, rotor blade profile and cross section; Drive system-gears, wind electric generators, regulating and control systems for wind mills; Performance evaluation and recent technologies of wind energy conversion system; Wind energy potential estimation and site selection; wind farms, cost estimation of the energy from wind energy conversion system.

AHN-526: INSTRUMENTATION FOR SMALL POWER STATION

Credit: 4

Contact Hours: Lecture: 3, Tutorial: 1, Practical: 2/2

Industrial instrumentation, transducers and their applications; Instrumentation for power system, analog and digital instruments, principles of measurement of voltage, current and power; Electronic voltmeters for non-sinusoidal voltages, dc voltmeter, mechanical and electrical tachometer, altimeter; Current transformers and potential transformers, AC/DC current probs; Digital instrumentation, technology of regulators, sensors and actuators, recorders, signal processing circuits, data acquisition system; Types of a.c. bridges, equation for bridge balance, measurement of self inductance, capacitance, mutual inductance and frequency; Case study of the instrumentation scheme used in small hydro power development.

AHN-528: RURAL ELECTRICAL ENERGY SYSTEM PLANNING AND DESIGN

Credit: 4

Contact Hours: Lecture: 3, Tutorial: 1, Practical: 0

Electrical load survey and forecasting, rural load management; Route survey and profiling of transmission and distribution lines; Mechanical design of low-tension distribution lines, selection of poles/supports etc; Electrical design of low-tension distribution lines: selection of conductors and insulators etc; Planning, selection and design of substations for rural electrical system; Load flow methods for  transmission and distribution system; fault analysis: different types of faults and their calculation procedures; Co-ordination between power and tele-communication lines; Maintenance of transmission and distribution lines; Case study of a typical system.

AHN-530: REMOTE SENSING AND GIS FOR SHP PLANNING

Credit: 4

Contact Hours: Lecture: 3, Tutorial: 0, Practical: 2

Remote sensing: Introduction, Satellite platforms and sensors, data acquisition, Indian satellite system; Satellite image: format, resolution, multispectral images, Image processing software, Geo-referencing, pre-processing and enhancement. Information extraction: supervised and unsupervised classification; Geographical Information System: introduction, components,   Coordinate system, Projection system; Data sources and data collection for small hydro projects: Field survey, topographic maps, satellite images, GPS, Digitization and layers creation; Data types – Spatial, non-spatial, Vector and Raster data, Topological relationship; Data base development for SHP: Database structure, editing, data retrieval and query. Managing data errors:  Rubber sheeting, Edge matching, Removal of sliver polygon; Digital elevation model: characteristics, DEM generation, parameters extraction from DEM; SHP data analyses–Catchments delineation - Overlay analyses, Buffering, Neighborhood operation, and distance and area measurement. Network based analysis; Runoff modeling, suitable site selection for small hydro power projects; GIS based Case study for development of small hydro power projects.

AHN-534: CONSTRUCTION PLANNING AND MANAGEMENT

Credit: 4

Contact Hours: Lecture: 3, Tutorial: 1, Practical: 0

Planning for construction of projects, advantages, stages and limitations of planning; Project objectives and activities, tender documents, types of tenders and procedures, cost estimates; Construction schedules, network techniques, interrelationship of activities, advantages of network diagrams; Construction methods, direct and indirect costs, construction plants and machinery, resource mobilisation; Importance of safety, safety measures and benefits; Quality control and management, coordination between different organizations and  monitoring; Construction planning for river diversion, foundation construction and treatment.

## AHN-536: BIOMASS PRODUCTION AND UTILISATION

Credit: 4

Contact Hours: Lecture: 3, Tutorial: 1, Practical: 0

Energy crisis, rural and urban energy loads, biomass as a source of energy, energy plantation, forest and agro residues, aquatic biomass, animal waste; Classification, shape, size, ash content and volatile matter in biomass; Biomass characteristics, procedures, proximate and ultimate analysis, ash deformation and fusion characteristics, calorific value, bulk density, devolatilisation; Biomass production through energy plantation, agroforestry, short rotation intensive culture, biomass harvesting, handling and pre-conversion processes; Physical, biological and thermo-chemical conversion processes, combustion, pyrolysis, gasification, bio-diesel, biogas production, biogas plants, briquetting/size reduction; Synthetic fuel production, bagasse based co-generation for power, utilization of biomass for the generation of solid, liquid/gaseous fuels for meeting heat and power needs; Environmental aspects of biomass production and utilisation and waste minimization system.

AHN-538: OPERATION AND MAINTENANCE OF SMALL HYDRO PLANTS

Credit: 4

Contact Hours: Lecture: 3, Tutorial: 1, Practical: 0

Intake weir, desilting tank, forebay, power channel, spillways and power house building; Gates, valves, trash rack and penstock; Turbines, governors and auxiliaries; Hydro-generator and excitation system; Control panels, relays, circuit breakers, transformers, batteries and charging equipments; Earthing system, switchyard and interconnecting transmission lines; Safety aspects and disaster management in small hydropower plants; Financial management for operation and maintenance of small hydropower plants.

AHN-540: SOLAR PHOTO-VOLTAIC DESIGN AND APPLICATION

Credit: 4

Contact Hours: Lecture: 3, Tutorial: 1, Practical: 0

Solar energy data, estimation of solar energy on different planes; Principle, characteristics and types of  solar photo-voltaic (PV) cell; Manufacturing and performance testing of solar PV modules; PV modules, array, batteries, battery chargers, block diodes, inverters, load distribution unit, monitoring equipment, circuit breakers; Load estimation, sizing of array and battery; Types of PV system, isolated and grid connected PV power plants; Installation and maintenance, grid interfacing, field monitoring; economic analysis, cost effective hybrid designs.

AHN-542: ENERGY CONSERVATION AND MANAGEMENT

Credit: 4

Contact Hours: Lecture: 3, Tutorial: 1, Practical: 0

Definition, organization of an energy conservation programme, definition of energy conservation, energy management, energy conservation opportunities, general principles, types, procedures and instruments for energy auditing; Assessments of technical merits of energy conservation methods and techniques in specific applications, energy saving methods, energy strategy, industrial energy applications; Methods of cost estimation for potential savings of fuel and electricity; Supply and demand side management of energy in residential, commercial, transport and industrial sectors, electricity utilities; Energy conservation in steam boilers, engines; principles, types and applications of different heat recovery systems; Energy conservation in electrical motors, transformers and conductors; Energy conservation in illumination in building shells; Material conservation and recycling, buildings heat losses, effect of fabrics, solar gains, ventilation, cooling, thermal storage and heat pumps; Topping and bottoming cogeneration cycles, total energy systems.

AHN-548: SIMULATION OF SMALL HYDROPOWER PLANTS

Credit: 4

Contact Hours: Lecture: 3, Tutorial: 1, Practical: 2/2

Review of system modelling and simulation, system states, lumped and distributed parameters, experimental and mathematical simulation, overview of numerical methods for simulation; Modelling of water conductor system for low, medium and high head plants; Modelling of turbines and governing system; Modelling of generators, excitation and power evacuation system; Dynamic simulation of SHP plants, different responses of SHP plant; Case-studies, introduction to real-time digital simulator for SHP plant.

AHN-580: CLIMATE CHANGE AND WATER RESOURCES

Credit: 4

Contact Hours: Lecture: 3, Tutorial: 1, Practical: 2/2

Natural eco-systems, autotrophs, heterotrophs, energy flows, pre-industrial humanity; efficiency of photosynthesis and ecosystems like forests, crops, respiration, combustion and other oxidation processes, biomethanation; History of climate change, greenhouse gas effect, anthropogenic climate change, role of different gases, global climatic problems, integrated assessment model, impacts and adaptation, uncertainties, precautionary principle; Biological and physico-chemical methods for carbon sequestration, CO2 capture from large point sources, pre-, post- and oxy-combustion technology, transport, storage and monitoring, feasibility, economics and public perceptions; Water resources and green house gas emissions, mitigation measures and adaptation to climate change; Kyoto protocol, UNFCCC, IPCC, geopolitics of GHG control, CDM and other emission trading mechanisms, non-CO2 GHGs, relevance for India, procedure for registration for CDM projects and its benefit; Case studies.